## Introduction
HVAC Excellence
This laboratory resource suppliment is to support Standard 7 of the accreditation standards manual.
| Standard 7: Laboratory Resources | #VALUE!
To meet program goals and support its mission, training equipment and tools must be readily available. These must be equivalent in quality to those used in the industry. The curriculum shall prescribe the equipment and tools required.
Contact Information
© HVAC Excellence 2026. All rights reserved. P.O. Box 521, Mt. Prospect, IL 60056-0521 Telephone: (800) 394-5268 Revised: June 2025

## HVACR Programs
HVACR Programs |  | Check List
Standard 7.1 - Laboratory Equipment and Resources | The HVACR laboratory shall house high-quality equipment essential for hands-on comprehensive training and performance testing. In particular, the air conditioning, heating, and commercial equipment should incorporate modern technologies to ensure the program stays current and relevant. The HVACR program should have equipment manufactured within the last five years, including new refrigerants and electrical controls. Additionally, there should be at least one functioning piece of live equipment representative of each phase of the curriculum. Suggested equipment and resources:
Blower assemblies (direct-drive and belt-driven)
Commercial ice makers
Condensing furnaces
Cooling tower
Ductless split air conditioner/heat pump
Economizer system trainer
Freezers (walk-in, reach-in, domestic)
Furnace humidifiers
Gas-fired and electric-strip-type heat exchangers
Gas heat and electric heat steam system
Heat pump systems (min-split, ductless, conventional split, inverter-controlled, packaged)
Humidifier Self Contained
Hydronic heating system (Radiant, baseboard, hydro-coil, steam, hot water)
Low-temperature, semi-hermetic, air-cooled condensing unit and evaporator coil
Mechanical water tower and pump
Medium-temperature, semi-hermetic, air-cooled condensing unit and evaporator coil
Packaged equipment (electric heating, gas heating, cooling, heat pump)
Water-cooled, semi-hermetic, condensing unit and evaporator coil
Refrigerators
Room Air Conditioners
Self-contained refrigeration systems
Split-type air conditioning systems (Multi-stage and variable capacity)
Walk-in cooler and/or freezer with Cam Lock type walls
Standard 7.2 - Laboratory Tools | The program must provide high-quality tools necessary for training. All tools shall be available for hands-on comprehensive training and performance testing. Sufficient tools must be available to accommodate all students during the training program's laboratory portion. The specific furnishing, tools, and test equipment required will be dictated by the curriculum offered by the program. In addition to the qualifications listed above, please refer to the additional discipline-specific requirements listed below.
Suggested Laboratory Furnishing
Air Compressor
Appliance cart/dollies
Bench grinder
Drill press
Pipe vise table mounted/portable
Soldering & brazing station
Sheet metal fabrication machinery
Wet dry vacuum cleaner
Workbenches w/ vise
Suggested Laboratory Tools (Ensure ratings for A2L and A3 Refrigerants)
Adjustable wrenches (8” & 10")
Air-acetylene torch kit (with assorted tips, check valves and flashback arresters)
C-clamps
Cold chisels
Combination SAE wrench set
Combination squares
Drill bits
Droplight
Duct board fabrication kit
Duct crimper tool
Duct outward cinching staple gun
Duct Stretcher (16-Inch)
Electric drill
Extra manifold charging hoses
Fiberglass duct hole cutter
Fan blade and blower wheel puller
Files
Fin comb
Flare/swage set
Flare nut torc wrench
Flare nut wrench set
Flaring set (¼" to ¾")
Flashlight
Flex duct cutter
Hacksaw
Hammer; claw, ball pein
Heat gun
Heavy-duty extension cords
Hex key wrench set; short and long
Level (magnetic torpedo)
Magnetic hex drives 1/4", 5/16", & 3/8”
Nut Drivers 1/4", 5/16", & 3/8"
Oxy-acetylene torch kit (with assorted tips, check valves and flashback arresters)
Pinch-off tool
Pipe thread taps & dies
Pipe wrenches
Pliers: diagonal cutting, linesman, long nose, terminal crimpers, tongue and groove
Pop-rivet set
Punches
PVC cutters
Reciprocating saw
Schrader valve core tool
Scratch awl
Screwdriver; Phillips, slotted
Service valve wrench (ratcheting, multiple sizes)
Sheet metal duct hole cutter
Sheet metal folding tool (12-Inch)
Sheet metal hammer
Sheet metal notcher
Spot welder
Socket wrench sets (SAE) 1/4” – 3/ 8” – 1/ 2” drive
Soldering iron / gun
Straight and seamer (3-Inch)
Swaging tool ¼" to ¾"
Tape measure (10ft. or longer)
Tensioning plastic tie-wrap tool
Thermometer pocket type
Tin snips: combination, straight, left & right-hand cut
Torch striker
Torque wrenches
Tube cutter
Tubing bender; spring, lever
Tubing reamer
Utility knife
Wheel puller
Wire stripper
Standard 7.3 - Hand Tools for Students | It is suggested that that students obtain the following tools prior to graduation. A tool purchase program should be in a place where the student can obtain tools at a reasonable cost. A listing of necessary hand tools shall be given to each new student by the instructor or by student services. In addition to the qualifications listed above, please refer to the additional discipline-specific requirements listed below.
Adjustable wrenches (8” & 10”)
Flare nut wrench set or Flaring set ¼" to ¾."
Flashlight
Gauge manifold set with 36" hose minimum with low loss fittings
Hammer: Ball peen (12oz or larger)
Hex key wrench set long (9" long)
Multimeter (with clamp-on ammeter)
Nut Drivers 1/4", 5/16", & 3/8"
Pliers Diagonal cutting
Pliers Linesman
Pliers Long nose
Pliers' Terminal crimpers (AGW 10-22 wire size)
Pliers Tongue and groove
Safety glasses
Schrader valve core tool
Screwdriver Phillips #2
Screwdriver Pocket Terminal, Flat, & Phillip
Screwdriver Slotted 1/4", & 5/16"
Service valve wrench (multi sized)
Swaging tool ¼" to ¾"
Tape measure (10ft. or longer)
Thermometer (Digital thermocouple type)
Thermometer (pocket type)
Toolbox
Tube cutter
Tubing Reamer
Utility knife
Work gloves
Service Equipment and Diagnostic Tools
Anemometer/velometer with flow hood
Blower door/duct blaster testing equipment
Capacitor tester (May be a feature on the digital VOM (Volt Ohm Multimeter))
Carbon monoxide (CO) tester
Clamp-on Ammeter
Combustion analyzer
Differential Pressure (Magnehelic) gauge
Digital multimeter (DMM)
Draft gauge
Electronic charging scale
Gas analyzer
Gauge manifolds (analog and digital, Bluetooth enabled
Manometer (Bluetooth enabled)
Micron vacuum gauge (Bluetooth enabled)
Nitrogen tank w/regulator and relief valve
Oil pressure gauge
Oil Pump
Psychrometer (digital and sling)
Recording ammeter
Recording voltmeter
Refrigerant leak detectors (A2l, electronic,
Refrigerant recovery/recycling equipment
Refrigerant storage tanks
Smoke Tester
Thermometers (Bi-metallic, Digital, Glass Tube, Chart Recording and Infrared, Bluetooth enabled)
Vacuum pump
Wattmeter
Standard 7.4 - Supplies | Supplies such as cleaning equipment, towels, and other expendable supplies shall be provided by the program and be readily available. In addition, safety glasses and ear plugs shall be made available for guests of the program. In addition to the qualifications listed above, please refer to the additional discipline-specific requirements listed below.
Acetylene
Acid test kits
Batteries
Black pipe and fittings
Carbon dioxide
Coil cleaning solutions
Copper tubing and fittings
Cutting oil
Duct tape
Electrical tape
Flux
Fuses
General cleaning supplies
Hand cleaner
Leak Detection Bubble solution
Lockout/tagout kit
Nitrogen
Oxygen
Pipe dope
PVC cement and primer
PVC pipe and fittings
Rags
Refrigerant
Refrigeration oil
Safety Data Sheet (SDS)
Safety glasses
Solderless connectors
Wire nuts

## Building Automation Programs
Building Automation Programs |  | Check List
Standard 7.1 - Laboratory Equipment and Resources | BAS laboratories can be configured with separate computers labs and appliance areas, or can be configured as a single space, creating a combined training environment. Computers should be up-to-date, capable of networking, and able to run graphic-intensive CAD software and simulation applications common to the building automation industry. Building automation programs must include up-to-date technologies. To keep the program current and relevant, the BAS program shall have equipment manufactured within the past five years, including network devices and media, microprocessor controllers, programmable controllers, electrical controls, and HVACR appliances. At least one piece of functioning live equipment, representative of each phase of the curriculum, must be available.
Air handling unit
Application-specific controllers
Building controllers
Cable trays/wiring raceways
Computer workstations with appropriate software
Custom application controllers
Ductless split heat pump
Economizer system trainer
Gas-fired and electric-strip-type heat exchangers
HMI Panel
Local Area Network (LAN) capable of supporting control system communications and devices
Medium-temperature, semi-hermetic, air-cooled condensing unit, and evaporator coil
Network devices that support BACnet, Lon, and Modbus protocols
Programable Logic Controllers (PLCs)
Roof top package-type unit
Room controllers/operators
Sensors and controlled devices
Split-type heat pump system (multi-stage and variable capacity)
Variable Frequency Drives (VFDs)
Water loop system
Water source heat pump
Standard 7.2 - Laboratory Tools | The program must provide high-quality tools necessary for training. All tools shall be available for hands-on comprehensive training and performance testing. Sufficient tools must be available to accommodate all students during the training program's laboratory portion. The specific furnishing, tools, and test equipment required will be dictated by the curriculum offered by the program. In addition to the qualifications listed above, please refer to the additional discipline-specific requirements listed below.
Suggested Laboratory Furnishing
Appliance hand truck
Dollies
Wet/dry vacuum cleaner
Workbenches w/vise
Suggested Laboratory Tools
Anemometer/velometer
Capacitor tester
Carbon dioxide (CO2) test instrumentation
Carbon monoxide (CO) tester
Clamp-on Ammeter
C-clamp set
Chisel set
Combination squares
Combustion analyzer
Differential Pressure (Magnehelic) gauge
Digital Multimeter
Draft gauge
Driver set; hex, nut, screw (appropriate for electrical and electronics)
Drill; bit index,
Drill; electric
Electronic charging scale
Extension cords; heavy-duty
Files
Flashlight
Gas analyzer
Gauge Manifold with hoses
Hacksaw
Hammer set; ball peen and others
Heat gun
Level; magnetic torpedo
Manometer
Micron vacuum gauge
Nitrogen tank w/regulator and relief valve
Oil pressure gauge
Pipe thread tap & die set
Pipe vise
Pliers; Diagonal cutting
Pliers; Linesman, Pliers; Long nose, Terminal crimpers (AWG 10-22 wire size), Tongue and groove, wire strippers
Pop Rivet set
Punch set
Psychrometer (digital)
Recording ammeter
Recording voltmeter
Refrigerant leak detectors (electronic and bubble)
Refrigerant recovery equipment
Scratch awl
Soldering iron
Tape measure (10ft. or longer)
Tensioning Plastic Tie-Wrap Tool
Thermometers (Bi-metallic, Digital, Glass Tube, Chart Recording and Infrared)
Tin snips Combination set
Torch kit; oxyacetylene
Tubing; bender, cutter, flaring set, reamer
Utility Knife
Vacuum gauge
Vacuum pump
Wattmeter
Wheel/pulley puller
Wrenches: adjustable, combination, flare nut, hex key, service valve
Standard 7.3 - Hand Tools for Students | It is suggested that that students obtain the following tools prior to graduation. A tool purchase program should be in a place where the student can obtain tools at a reasonable cost. A listing of necessary hand tools shall be given to each new student by the instructor or by student services. In addition to the qualifications listed above, please refer to the additional discipline-specific requirements listed below.
Cable Stripper
Crimpers; RJ45
Crimpers; terminal with strippers (AWG 10-22 wire size)
Flashlight
Hammer: Ball peen
Multimeter (with clamp-on ammeter)
Network Cable Tester
Nut Driver set
Pliers: diagonal cutting, linesman, long nose, tongue and groove
Punch down tool
Safety glasses
Screwdriver Set: slotted, Phillips
Tape measure
Thermometer (Digital thermocouple type)
Thermometer (pocket type)
Tool Bag
Utility knife
Work gloves
Wrench; adjustable, hex
Standard 7.4 - Supplies | Supplies such as cleaning equipment, towels, and other expendable supplies shall be provided by the program and be readily available. In addition, safety glasses and ear plugs shall be made available for guests of the program. In addition to the qualifications listed above, please refer to the additional discipline-specific requirements listed below.
Acetylene
Acid test kits
Batteries
Black pipe and fittings
Carbon dioxide
Coil cleaning solutions
Copper tubing and fittings
Cutting oil
Duct tape
Electrical tape
Flux
Fuses
General cleaning supplies
Hand cleaner
Leak Detection Bubble solution
Lockout/tagout kit
Nitrogen
Oxygen
Pipe dope
PVC cement and primer
PVC pipe and fittings
Rags
Refrigerant
Refrigeration oil
Safety Data Sheet (SDS)
Safety glasses
Solderless connectors
Wire nuts

## Green Mechanical Systems
Green Mechanical Systems |  | Check List
Standard 7.1 - Laboratory Equipment and Resources | A Green Mechanical System Program may cover topics including but not limited to energy auditing, geothermal, photovoltaic systems, solar heating and cooling, thermal storage, water conservation systems, and wind power. The curriculum shall dictate the types and variations of equipment or tools required for training purposes. At least one piece of functioning live equipment, representative of each phase of the curriculum, must be available. Tools shall be available in sufficient quantities to ensure students can readily access them, as needed, during the lab portions of the training program.
Access to sample and representative residential or commercial structures
Active solar heating systems
Air-to-air system
Air-source, inverter-controlled heat pump system
Arc flash protection equipment
Automatic transfer switch (ATS)
Automated ventilation system
Backflow prevention devices
Biofuel-fired boilers and/or furnaces
Biomass food waste system: food waste to methane, manure to methane, waste food oil burner
Biomass gasification system: farm field waste, wood chip
Blower door
Building automation software/program/system/platform
Building envelope (shell) trainers/demos/samples (windows, doors, walls, roofs)
Building information modeling (BIM) software/program/system/platform
Computer lab with one computer per student
Condensing boilers and furnaces
Collector to storage
Circulating pumps (both magnetic and shaft driven)
Conservation devices
Direct digital control (DDC) trainers and/or equipment
Dual port digital manometer
Duct-pressurization equipment
Ductless mini-split heat pump systems
Economizer with a variety of high-limit controls (fixed enthalpy, fixed dry-bulb, differential dry-bulb, electronic enthalpy, differential enthalpy, and/or dewpoint and dry-bulb)
Electronically commutated motor (ECM) trainers
Energy audit software (residential and/or commercial)
Energy consumption and demand analysis software
Energy management software/program/system/platform
Energy recovery ventilators (ERV) – Installed and
(Enthalpy Wheel)
Energy modeling software
Ethanol distillation
Evaporative cooler
Evacuated tube system
Geothermal: heat pump (inverter-controlled) (water source or ground source)
Geothermal: closed loop systems (horizontal or vertical)
Geothermal: pond/lake/well
Green roofing (shading, siting, landscaping)
Grey water system
Grid-tied wind turbine rated at 5kw or greater utilizing the local prevailing wind data. Installed in compliance with NFPA 70
Fuel cell trainers
Geothermal heat pump system and/or trainer
Geothermal technology trainers and/or equipment
Green plumbing fixtures (low-flow, waterless)
Heat gain/loss calculation software
Heat pumps (air-source, water-source, geothermal, split-type, packaged)
Heat pump water heater
Heat recovery ventilators (HRV) – Installed and operational
High efficiency and legacy air conditioning equipment
High efficiency and legacy gas-fired forced-air heating equipment
High efficiency and legacy heat pump equipment
High thermal mass systems
HVAC system with enthalpy controls
Indirect water heater
Inverters matched to the array capacity (Individual panel mounted and system-dedicated)
Lock-out/tag-out (LOTO) equipment and related signage
Load center and compatible controllers
Mini-split system
On-demand hot water system
Passive solar systems
Photovoltaic array, at least 2 kw. Installed in compliance with NFPA 70
Photovoltaic (PV) trainers
Rainwater collection and retention system
Refrigerant recovery machine
Remote leak monitoring sensors
Smart thermostats – installed on existing equipment and operational
Solar technology trainers and/or equipment
Solar water heater
Step ladder (6’)
Structural components
Sustainable energy generation technologies
Thermal energy storage trainers and/or equipment
Trombe wall system
Uninterruptible power supply (UPS) system
Utility meter for grid-tied system
Vacuum pump
Variable frequency drives (VFDs) – equipment and/or trainers
Variable speed drives (VSDs) – equipment and/or trainers
Waste heat recovery system
Water-to-water heat pump system
Water-to-air heat pump system
Wet/Dry vacuum
Wind technology trainers and/or equipment
Standard 7.2 - Laboratory Tools | The program must provide high-quality tools necessary for training. All tools shall be available for hands-on comprehensive training and performance testing. Sufficient tools must be available to accommodate all students during the training program's laboratory portion. The specific furnishing, tools, and test equipment required will be dictated by the curriculum offered by the program. In addition to the qualifications listed above, please refer to the additional discipline-specific requirements listed below.
Suggested Laboratory Furnishing
Appliance hand truck
Geothermal system charging cart
Ground fault protection for extension cords
Vent hood for soldering and brazing
Suggested Laboratory Tools (When required by ASTM standard F1505, tools shall be rated for 1000-volts.)
Air velocity instruments
Carbon Monoxide (CO) tester
Combustion analyzer
Digital refrigeration gauges
Digital thermometers
Droplights
Dual port digital manometer
Electric drill
Flashlight
Hammer: ball pein, claw, rubber mallet
Heavy duty extension cords
High-density polyethylene (HDPE) pipe fusion tools
Inductive amp probe
Infrared tester
Kilowatt meter
Lock-out/tag-out (LOTO) equipment
Nut drivers
Pete’s port
Pipe vise
Pliers: linesman, locking, needle nose, side cutters, snap ring, tongue and groove
Portable CO detector
Refrigeration access port isolation valves
Safety: glasses
Safety: gloves
Screwdrivers: Phillips and slotted
Solar irradiance meter
Solar pathfinder
Tape measure
Thermal imaging camera
True RMS multimeter with amp probe
Vane anemometer
Wattmeter
Wire stripers
Wrenches; adjustable, flare nut torque, Hex key, service valve
Standard 7.3 - Hand Tools for Students | It is suggested that that students obtain the following tools prior to graduation. A tool purchase program should be in a place where the student can obtain tools at a reasonable cost. A listing of necessary hand tools shall be given to each new student by the instructor or by student services. In addition to the qualifications listed above, please refer to the additional discipline-specific requirements listed below.
Drill bits
Drop light
Electric drill
Files
Fin straightener
Flashlight
Gauge manifolds
Hacksaw
Hammer: ball pein, claw, sheet metal, soft face mallet
Multimeter
Nut drivers
Pliers: diagonal, linesman, locking, long nose, slip joint
Punches
Reamer
Safety gloves
Schrader valve core tool
Screwdriver Set: slotted, Phillips
Slotted screwdriver
Soldering iron / gun
Straight cut tin snips
Tape measure
Thermometer
Tin snips: right-hand and left-hand curve cut
Tongue & groove pliers
Tube cutter
Wrenches: adjustable, Allen, combination, flare nut, hex key, pipe, service
Standard 7.4 - Supplies | Supplies such as cleaning equipment, towels, and other expendable supplies shall be provided by the program and be readily available. In addition, safety glasses and ear plugs shall be made available for guests of the program. In addition to the qualifications listed above, please refer to the additional discipline-specific requirements listed below.
Batteries
Electrical tape
Flux
Fuses
Lockout/tagout kit
Low-voltage wire
Pipe dope
Plumbing fittings
Safety Data Sheet (SDS)
Safety glasses
Safety gloves
Solder
Solderless connectors
Teflon tape
Wire nuts